Simple greenhouse climate model as a design tool for greenhouses in tropical lowland

I. Improna, b, , S. Hemmingb and G.P.A. Botb, c
aDepartment of Geophysics and Meteorology, Faculty of Mathematics and Natural Sciences, Bogor Agricultural University, Darmaga Campus Wing 19 Level 4, Bogor, Indonesia

bWageningen University and Research Centre, Plant Research International, Greenhouse Technology, P.O. Box 16, 6700 AA Wageningen, The Netherlands

cWageningen University, Systems and Control Group, P.O. Box 17, 6700 AA Wageningen, The Netherlands

Received 22 March 2006;

accepted 30 March 2007.

Available online 5 July 2007.

Abstract

Six prototypes plastic greenhouses were built in the tropical lowlands of Indonesia. The geometrical dimensions were designed using computational fluid dynamics (CFD) by taking local climate parameters as static reference boundary conditions. It is necessary to evaluate the climate dynamics inside the greenhouse during varying climatological conditions. A greenhouse climate model was developed to optimise cover properties and ventilation rate as main parameters, calculating only three state variables: average greenhouse air temperature TAir, average greenhouse air water vapour pressure (expressed as air water vapour pressure deficit DAir), and average canopy temperature TCan. Solar radiation distribution, air exchange by ventilation, and crop transpiration constituted the backbones of the model. The climate outdoor and inside the test greenhouses with crops having leaf area index from 0.02 to 4.10 were measured for one growing season. Measurements and calculations of TAir and DAir agreed satisfactorily, with less than 5% errors. It is concluded that the model is robust and could be used as a design tool for the tropical lowland greenhouses.

Nomenclature

A
area, m2
C
coefficient

c
concentration, kg m−3
cp
specific heat of air, J kg−1 K−1
D
water vapour pressure deficit, Pa

d
diagonal length of greenhouse floor, m

E
transpiration, kg m−2 s−1
e
actual air water vapour pressure, Pa

e*
saturation air water vapour pressure, Pa

F
aspect ratio

G
heat conductance, W m−2 Pa−1 (for the latent) or W m−2 K−1 (for others)

g
gravitational acceleration, m s−2
H
heat exchange, W m−2
h
average greenhouse height, m

I
transmitted radiation, W m−2
K
sky clearness index

k
conductance of heat or mass, m s−1
L
leaf area index, m2 m−2
l
length, m

M
molar weight, kg kmol−1
O
light obstruction factor

P
absorbed solar radiation, W m−2
R
universal gas constant, J kmol−1 K−1
r
resistance for heat transfer, s m−1
S
outdoor global radiation, W m−2
T
temperature, K

U
external wind speed, m s−1
u
average wind speed inside greenhouse, m s−1
w
width, m

κ
extinction coefficient

[image: image1.png]



airflow per unit ground area, m3 s−1 m−2
Φ
airflow, m3 s−1
Λ
calibration factor for indirect absorbed solar radiation

ς
ventilation reduction of the insect-proof screen

α
absorption coefficient

χ
characteristic width dimension of a leaf, m

δ
slope of the saturation air water vapour pressure function (Pa K−1)

ε
emission coefficient

γ
thermodynamic psychometric constant, Pa K−1
λ
latent heat of water vaporization, J kg−1
ρ
density of air, kg m−3
σ
Stefan–Boltzmann constant, W m−2 K−4
τ
transmission coefficient

[image: image2.png]



reflection coefficient

Subscripts

Air
greenhouse air

Can
canopy

CO2
CO2
CON
convection

Cov
greenhouse cover

d
discharge

dif
diffuse

dir
direct

e
boundary layer (external)

E
extraterrestrial

G
global

g
greenhouse ground

i
big leaf (internal)

LAT
latent

n
net

NIR
near-infrared radiation

o
ventilation opening

Out
outdoor

PAR
photosynthetically active radiation

r
roof opening

s
side opening

Scr
insect screen

Sky
sky

Str
greenhouse structural elements

LWR
long-wave radiation

UVR
ultra-violet radiation

VEN
ventilation

w
wind pressure

Article Outline

Nomenclature
1. Introduction
2. Model development
2.1. Basis of the model
2.1.1. Solar radiation distribution
2.1.2. Ventilation process
2.1.3. Crop transpiration
2.2. Parameter estimations
3. Experimental details
3.1. Experimental site and test greenhouse dimensions
3.2. Crop, cultural procedures, leaf area index and transpiration measurements
3.3. Measurement of climate
4. Results and discussion
4.1. Calibration of the model
4.2. Validation of the model
4.3. Application of the model
5. Conclusions
Acknowledgements
References
1. Introduction

Crop cultivation in tropical lowlands is subject to various stresses: heavy rainfall during the rainy season; water shortage during the dry season (Von Zabeltitz, 1999); and insect infestations. Cultivation in a greenhouse protects crops from these extremes. Protection against insect infestation requires the application of screens in the ventilating openings; however, these screens restrict natural ventilation needed to prevent high indoor air temperatures at the prevailing high levels of solar irradiation. Recently, with the adaptation of the optical properties of covering materials, it has become possible to reduce the thermal load of the greenhouse (Hoffmann & Waaijenberg, 2002; Hemming et al., 2006). The problem is to find the optimal combination of restricted natural ventilation and adapted optical cover properties.

The objectives of this study are: (i) to evaluate the adaptation of the covering optical properties to lower the heat load in the greenhouse; (ii) to evaluate the effectiveness of natural ventilation, restricted by insect screens to remove excess heat from the greenhouse compartment; (iii) to evaluate the dynamic behaviours of the climate in the greenhouse during varying climatologic conditions; and (iv) to evaluate the growth of crop grown in the greenhouse with this dynamic behaviour.

This paper focuses on the development of a simple dynamic model for the greenhouse climate enabling the optimisation of the cover properties and ventilation rate. The model is required to quantify the effects of cover properties and ventilation on the greenhouse climate. The effect of crop transpiration is also considered because this is crucial in the cooling process.

The model was calibrated and validated in a field experiment in six prototype greenhouses in the tropical lowlands of Indonesia applying a reference cover. Effect of cover properties and ventilation will be presented in another paper. The geometry for optimal natural ventilation for the prototype greenhouses was previously designed applying computational fluid dynamics (CFD) with reference to local static climate conditions (Campen, 2005).

2. Model development

2.1. Basis of the model

Extensive greenhouse climate models with many state variables including heating and energy storage have been reported previously (Bot, 1983; De Zwart, 1996). The current model proposed is aimed at quantifying the effects of cover properties and ventilation on greenhouse air temperature, including the cooling effect of crop transpiration in unheated greenhouses. Therefore, the model was restricted to only the three state variables needed to evaluate the system: average greenhouse air temperature; average greenhouse air water vapour pressure; and average canopy temperature. Because the model is aimed at design at static conditions short term dynamics are not crucial so the model can be static, thereby following the dynamics of the outdoor weather.

The following assumptions are made: (i) the greenhouse is considered as a well-mixed compartment Roy et al. (2002); (ii) boundary conditions are outdoor solar radiation, outdoor air temperature and sky temperature; (iii) solar radiation imposes fluxes to the greenhouse cover, the greenhouse structural elements, the crop canopy, and the soil surface; (iv) the mentioned absorbed solar radiation fluxes are released (with some delay) for a determined part to the greenhouse air; and (v) the greenhouse cover is one thin plastic layer. Its optical properties are defined in the relevant spectral regions.

Then canopy and greenhouse air temperature follow from the steady state energy balances over the canopy and the greenhouse air respectively, as indicated in Fig. 1:
(1a)
0=PCan-HCan-Sky,LWR-HCan-Air,CON-λECan-Air,
(1b)
0=PAir+HCan-Air,CON-HAir-Out,CON-HAir-Out,VEN,
where: PCan is the absorption of solar radiation by the canopy; HCan−Sky,LWR is the heat exchange between canopy and sky by long-wave radiation; HCan−Air,CON is the sensible heat exchange between canopy and greenhouse air by convection; λECan−Air is the latent heat flux by canopy transpiration; PAir is the imposed indirect solar radiation flux to the greenhouse air (solar radiation absorbed by greenhouse opaque elements and released to the greenhouse air), HAir−Out,CON is the overall heat exchange between greenhouse and outdoor air through the plastic cover by convection; and HAir−Out,VEN is the sensible heat exchange between greenhouse and outdoor air by ventilation. All fluxes are in W m−2 greenhouse area.

	

	Full-size image (20K)


Fig. 1. Representation of the state variables, fluxes, and boundary conditions: eAir and eOut, water vapour pressure of the greenhouse and outdoor air; TCan, TAir, TOut and TSky, temperatures of the canopy, greenhouse air, outdoor air and sky; S, outdoor global radiation; PCan, absorption of solar radiation by canopy; PAir, imposed indirect solar radiation flux to the greenhouse air; λEAir−Out, latent heat exchange between greenhouse and outdoor air by ventilation; λECan−Air, latent heat flux by canopy transpiration; HCan−Sky,LWR, long-wave radiation exchange between canopy and sky; HAir−Out,CON, overall heat exchange between greenhouse and outdoor air through the plastic cover; HCan−Air,CON, sensible heat exchange between canopy and greenhouse air by convection; and HAir−Out,VEN, sensible heat exchange between greenhouse and outdoor air by ventilation.



View Within Article


The heat transfer terms in the steady state balances are a function of the acting temperature differences, so the basic equation for canopy temperature is derived from Eq. (1a) as

(2a)
0=PCan-GCan-Sky,LWR(TCan-TSky)-GCan-Air,CON(TCan-TAir)-λECan-Air,
where: GCan−Sky,LWR is the heat conductance (transfer coefficient) between canopy and sky by long-wave radiation in W m−2 K−1; GCan−Air,CON is the heat conductance between crop and greenhouse air by convection in W m−2 K−1; TCan, TSky, and TAir are the temperatures of the crop, the sky, and the greenhouse air, respectively, in K.

The basic equation for greenhouse air temperature is derived from Eqn (1b):

(2b)
0=PAir+GCan-Air,CON(TCan-TAir)-GAir-Out,CON(TAir-TOut)-Gair-Out,VEN(TAir-TOut),
where: GAi−Out,CON is the overall sensible heat conductance between the greenhouse and outdoor air via the plastic cover by convection in W m−2 K−1; GAir−Out,VEN is the sensible heat conductance between greenhouse and outdoor air by ventilation in W m−2 K−1; and TOut is the outdoor air temperature in K.

The state variable actual greenhouse air water vapour pressure eAir in Pa, needed for the sub-model on crop transpiration, can be calculated from the latent heat balance over the greenhouse air: 

(2c)
0=GAir-Out,LAT(eAir-eOut)-λECan-Air(S,TAir,TCan,eAir),
where: GAir−Out,LAT is the latent heat conductance by ventilation in W m−2 Pa−1; eOut is the actual outdoor air water vapour pressure in Pa; and S is the outdoor global radiation in W m−2.

2.1.1. Solar radiation distribution

Distribution of solar radiation determines the first terms in the model Eqs. (2a) and (2b). Direct dir and diffuse dif components of the S distribute differently. According to Spitters et al. (1986), they are calculated as a function of the ratio between S and extraterrestrial radiation SE with SE, being calculated according to Allen et al. (1998). All radiation is in W m−2.

Another important item is the spectral distribution. According to the Global Spectral Irradiance ASTM G173-03 (2003), the reference total global energy is partitioned into ultra violet radiation (UVR) (4.6%), photosynthetically active radiation (PAR) (43.4%), and near infrared radiation (NIR) (52.0%). The partition would vary slightly with meteorological conditions but a fixed ratio is chosen as given in brackets.

To allow evaluation of the effect of the radiometric properties of the reference cover used in the prototype greenhouse, they are defined in terms of transmission τ, absorption α, and reflection [image: image4.png]


coefficients for the spectral regions of UVR, PAR, and NIR; and for the radiation components of diffuse and direct (Table 1). The greenhouse transmission coefficient for the direct PAR spectrum τPAR,dir is calculated by ray-tracing (Swinkels et al., 2000) as a function of solar position (elevation and azimuth) as given in Table 2. The factor τPAR,dir is used to determine the greenhouse transmission for the whole spectrum of global radiation.



Table 1. 

Transmission τ absorption α, and reflection [image: image5.png]


coefficients for the reference plastic cover, ASTM G173–03 weighted

	
	Diffuse



	Direct [image: image6.png]






	
	UVR
	PAR
	NIR
	UVR
	PAR
	NIR

	τ
	0.136
	0.765
	0.758
	0.159
	0.896
	0.888

	α
	0.681
	0.052
	0.052
	0.658
	0.052
	0.052

	γ
	0.183
	0.183
	0.190
	0.183
	0.052
	0.060


Full-size table
Bold values were measured, the others estimated.

UVR, ultra-violet radiation; PAR photosynthetically active radiation; NIR near-infrared radiation.



View Within Article




Table 2. 

Photosynthetically active radiation transmission coefficient of the greenhouse covering structure as a function of azimuth and elevation calculated with MatLight model (Swinkels et al., 2000)

	Azimuth, degree
	Elevation, degree




	
	0
	5
	10
	20
	30
	40
	50
	60
	70
	80
	90

	0
	0.000
	2.542
	1.586
	1.068
	0.844
	0.747
	0.696
	0.648
	0.624
	0.607
	0.601

	10
	0.000
	2.583
	1.595
	1.060
	0.840
	0.745
	0.693
	0.646
	0.623
	0.606
	0.601

	20
	0.000
	2.578
	1.585
	1.056
	0.839
	0.747
	0.692
	0.646
	0.623
	0.605
	0.602

	30
	0.000
	2.521
	1.554
	1.024
	0.825
	0.742
	0.687
	0.646
	0.624
	0.606
	0.602

	40
	0.000
	2.398
	1.479
	0.982
	0.805
	0.735
	0.679
	0.645
	0.625
	0.604
	0.601

	50
	0.000
	2.205
	1.373
	0.923
	0.780
	0.716
	0.670
	0.642
	0.622
	0.606
	0.602

	60
	0.000
	1.967
	1.249
	0.862
	0.750
	0.695
	0.662
	0.639
	0.621
	0.604
	0.602

	70
	0.000
	1.698
	1.112
	0.808
	0.717
	0.678
	0.652
	0.634
	0.618
	0.605
	0.601

	80
	0.000
	1.415
	0.993
	0.767
	0.692
	0.659
	0.645
	0.631
	0.617
	0.605
	0.601

	90
	0.000
	1.277
	0.952
	0.763
	0.688
	0.659
	0.645
	0.632
	0.619
	0.607
	0.602


Full-size table


View Within Article


The absorbed solar radiation by the greenhouse cover PCov and by the greenhouse structural elements PStr (both in W m−2 as all fluxes given below) are defined as

(3)
PCov=αCov,UVR,difSUVR,dif+αCov,UVR,dirSUVR,dir+αCov,PAR,difSPAR,dif+αCov,PAR,dirSPAR,dir+αCov,NIR,difSNIR,dif+aCov,NIR,dirSNIR,dir,
PStr=αStr(τUVR,difSUVR,dif+τUVR,dirSUVR,dir+τPAR,difSPAR,dif+τPAR,dirSPAR,dir+τNIR,difSNIR,dif+τNIR,dirSNIR,dir),
where for example: αCov,PAR,dir is the absorption coefficient of greenhouse cover in the direct PAR spectrum; SPAR,dir is the direct component of global radiation in the PAR spectrum; αStr is the absorption coefficient of the greenhouse structural elements, not being spectral selective and assumed equal for diffuse and direct solar radiation; and τUVR,dif is the greenhouse transmission coefficient for the diffuse UVR spectrum.

The transmitted radiation by the greenhouse is given with an example for the PAR IPAR: 

(4)
IPAR,dif=(1-aStr){(1-OScr)(τPAR,difSPAR,dir)+OScrSPAR,difτPAR,difτScr,dif},IPAR,dir=(1-aStr)(τPAR,difSPAR,dir),IPAR=IPAR,dif+IPAR,dir,
where: IPAR,dif and IPAR,dir are the transmitted radiation by the greenhouse for diffuse and direct PAR, respectively; OScr is the light obstruction factor of the insect screen; and τScr,dif is the diffuse radiation transmission coefficient of the insect screen.

The greenhouse transmissions for the UVR IUVR and for the NIR INIR are calculated in a similar way as done for the IPAR. The transmission of the global radiation by the greenhouse IG is then calculated as

(5)
IG=IUVR+IPAR+INIR.
Absorption of diffuse solar radiation by the canopy is calculated according to Goudriaan and Van Laar (1994):

(6)


where: PPAR,Can and PNIR,Can are the absorption of PAR and NIR by the canopy, respectively; and L is the leaf area index in m2 m−2.

Following the notations in the model, PAir is determined as:

(7)
PAir=Λ{PCov+PStr+(IG-PCan)},
where: Λ is the calibration factor for indirect absorbed solar radiation indicating the part of the radiation absorbed by the greenhouse cover (PCov), structural elements (PStr) and soil surface (IG – PCan) released to the air.

2.1.2. Ventilation process

For the tropical lowland greenhouse, the ventilation process is crucial in realising an acceptable indoor climate. CFD modelling (Campen, 2005) for the design of the test prototype greenhouse indicated that both continuous sidewall and roof top ventilation were needed for sufficient ventilation efficiency with insect screens in the openings. For such greenhouse, the general ventilation principles can be applied (Bot, 1983; De Jong, 1990; Boulard & Baille, 1995), keeping in mind the greenhouse-specific aspects.

The geometry of a single rectangular opening is defined by its length lo and width wo, both in m (Bot, 1983). For the total greenhouse, half of the openings are for inflow and half are for outflow so the effective opening area equals 0.5 Ao with Ao being the total ventilation opening in the greenhouse in m2 (Bot, 1983; Boulard & Baille, 1995). The flow resistance can be expressed in the aspect ratio Fo (Bot, 1983) or the discharge coefficient Cd (Boulard & Baille, 1995; Roy et al., 2002) with Cd=Fo−0.5. Bot (1983) experimentally determined the aspect ratio for a rectangular opening without flaps as

(8)


The combined pressure difference over the opening due to the wind and temperature effect drives the airflow through the opening ΦVEN in m3 s−1 as extensively reported in literature (Bot, 1983; De Jong, 1990; Boulard & Baille, 1995; Roy et al., 2002). Therefore, for greenhouses with both side and roof openings and applying Cd for the flow resistance of the opening it was derived that (Roy et al., 2002)

(9)


where: g is the gravitational acceleration in m s−2; As is the area of side opening in m2; Ar is the area of roof opening in m2; Cw is the wind pressure coefficient; and U is the external wind speed at 10 m reference height in m s−1.

If greenhouse air temperature is lower than outdoor air temperature, the air is stagnant so the temperature effect can be neglected:

(10)


The coefficient Cw is greenhouse dependent while it relates the reference wind speed to the ventilation driving pressure difference over the opening. Therefore the geometry of the greenhouse, the obstacles near the greenhouse and wind direction play a role. A number of investigations provide a wide range of Cw values (Boulard & Baille, 1995; Fatnassi et al., 2004).

When the ventilation reduction ς of the insect-proof screen is known, the airflow through the opening with screen ΦScr,VEN in m3 s−1 is estimated as:

(11)
ΦScr,VEN=ΦVEN(1-ζ).
The airflow per unit ground area from the greenhouse air to the outdoor air φVEN in m3 s −1 m −2 and the average wind speed inside the greenhouse u in m s−1 are defined as: 

(12a)

VEN=ΦScr,VEN/Ag,

(12b)


where: Ag is the greenhouse ground area in m2; h is the average greenhouse height in m; and d is the diagonal length of greenhouse floor in m.

2.1.3. Crop transpiration

Crop transpiration is calculated according to the Penman–Monteith (P–M) evaporation model. The P–M model, sometimes referred to as ‘big leaf’ model, is based on the overall energy balance over the crop with large leaf area index:

(13)


where: δAir is the slope of the saturated air water vapour pressure function at greenhouse air temperature in Pa K−1; In is the net radiation at the canopy in W m−2; ρ cp is the volumetric specific heat of air in J m−3 K−1; DAir is the water vapour pressure deficit of the greenhouse air in Pa; γ is the thermodynamic psychometric constant in Pa K−1; ke and ki are the boundary layer (external) conductance and the big leaf (internal) conductance in m s−1. Note that In=PCan – HCan−Sky,LWR.

Value of ke is approximated according to Stanghellini (1987): 

(14a)


(14b)


where: L is the leaf area index in m2 m−2; re is the leaf boundary layer resistance for the heat transfer in s m−1; and χ is the characteristic dimension of a leaf in m. Stanghellini included factor of 2 L to make the ke suitable for the P–M model.

Value of ki is approximated according to Nederhoff (1994):

(15)


where: cCO2 is the ambient CO2 concentration, expressed here in ppm. Here, IPAR is expressed in μ mol s−1 m−2. The conversion for PAR is 1 W m−2=4.5 μmol s−1 m−2.

2.2. Parameter estimations

Most model parameters can be estimated from literature. The long-wave radiative heat conductance between canopy and sky is calculated as function of crop development according to De Zwart (1996):

(16)


where: εCan,LWR is the long-wave radiation emission coefficient of the canopy; σ is the Stefan–Boltzmann constant; κCan,LWR is the long-wave radiation extinction coefficient of the canopy; and τCov,LWR is the long-wave radiation transmission coefficient of the cover.

The sensible heat conductance between the canopy and the air is related to the boundary layer conductance for water vapour transport according to (De Zwart, 1996): 

(17)


Leaves exchange sensible heat at both sides of the leaf so the exchange area equals 2 L.

The overall sensible heat conductance between the greenhouse and outdoor air via the cover for a single span plastic greenhouse can be considered as dependent on external wind speed due to the external convection (Boulard & Baille, 1993; Boulard & Wang, 2000) as:

(18)


The sensible and latent heat conductance between the greenhouse and outdoor air via ventilation openings are given as

(19)

GAir-Out,VEN=ρcpVEN,

(20)


where: M is the molar weight of water in kg kmol−1; R is the universal gas constant in J kmol−1 K−1; and T is the air temperature in K.

Temperature of the sky for all sky conditions is according to Aubinet (1994) 

(21)


where: K is the sky clearness index and is the average value of the ratio between S and SE for the given day.

The saturation air water vapour pressure e* in Pa as a function of air temperature (NASA, 2005) and slope of the saturation air water vapour pressure function δ in Pa K−1 are given as:

(22a)


(22b)


3. Experimental details

3.1. Experimental site and test greenhouse dimensions

Six greenhouses having the same dimensions (Fig. 2) according to Campen (2005) were built in Purwakarta (107°30′E, 630′S, altitude 25 m), West Java, Indonesia for field experimentation. The greenhouses were covered with three types of 200 μm thick low-density polyethylenes, UVR absorbing and diffusing, differing in NIR reflection. Two rows of three greenhouses were arranged, the distance between the greenhouses within the rows was 9.6 m and the distance between the rows was 10 m.



	

	Full-size image (30K)


Fig. 2. Photograph of the greenhouses in the field.



View Within Article


Ventilation openings were available in the sidewalls with width of 2.75 m. In the roof, the width of the horizontal ventilation opening below the lifted cover was 2 m. The ground area of the greenhouse was 144 m2, the volume was estimated to be 823 m3, average height was 5.72 m and average roof angle was 27.5°. All ventilation openings were covered with Mononet 600 insect screens.

3.2. Crop, cultural procedures, leaf area index and transpiration measurements

Tomato of a determinant growing type (variety ‘Permata’) was grown in the six test greenhouses. Five beddings, all covered with plastic mulch (silver colour upside, black downside), were prepared in each greenhouse allowing excess irrigation water to drip via a 0.076 m gutter made of half-polyvinyl chloride (PVC) pipe to the drainage collector placed outdoor each greenhouse. Each tomato plant was grown on a black polybag. The crops were transplanted at a leaf area index of 0.02 and cultivated according to the high-wire system. The crops were arranged in a double-row system with a plant density of 2.94 m−2.

Destructive samples were taken regularly with a 2 week interval. Specific leaf area was determined from measurement of leaf area and its corresponding dry weight, and thus the leaf area index was deduced. Crop transpiration during daytime (06:30–17:15) at a leaf area index of 1.39 was measured for 2 successive days at day of year (DOY) 322 and 323 by manually weighing and solving the water balance between irrigation and drainage from a total of 18 plants.

3.3. Measurement of climate

Global radiation and PAR were measured at a height of 4 m inside three greenhouses and outdoors using 4 pyranomters (CM11, Kipp and Zonen, Delft, The Netherlands) and 4 PAR sensors (TFDL, Wageningen, The Netherlands). Indoor sensors were mounted at a position meant not to be constantly shaded by the insect screens in the roof opening. Air temperature, and air relative humidity were measured by dry and wet bulb ventilated hygrometers (Priva Hortimation, De Lier, The Netherlands) inside all greenhouses at a height of 1.5 m at the start of the experiment and with growing crop at 25 cm above the crop, and outdoors at a height of 1.5 m. Outdoor wind velocity was measured at a height of 10 and 2 m by cup anemometers.

All sensors were connected to two data loggers (Datataker 500, Data Electronics, Rowville, Australia). These data loggers scanned all signals every 1 s and computed 15 min averages for logging. Daily rainfall was measured manually using a rainfall gauge.

4. Results and discussion

All reported results are based on data collected in the greenhouse with reference cover during one growing season, from 23 October 2003 to 27 January 2004 with outdoor climate as summarised in Table 3. Two sets of data were discriminated (Table 4). Each data set represented seven individual days with various conditions of crop growth and weather so that the model was calibrated and validated on independent extensive boundary conditions. In the model, Eqs. (2a), (2b) and (2c) were iteratively solved to calculate the state variables TAir, eAir and TCan. Moreover, IG and IPAR were calculated from the radiation data. The variables, except TCan, were also measured. Accuracy of model results was evaluated using percent error of the mean values and root-mean-square error (RMSE).



Table 3. 

Summary of climatic condition during the experiment, for months of October, November, December 2003 and January 2004

	
	Average or instantaneous value




	
	October
	November
	December
	January

	Rainfall, mm month−1
	23
	117
	156
	235

	Sum S, MJm−2 d−1
	18.7
	17.5
	15.3
	16.9

	Maximum sum S, MJ m−2 d−1
	24.6
	22.7
	22.6
	23.3

	Maximum S, W m−2
	1134
	1070
	1084
	1188

	Clearness of sky, %
	48
	44
	40
	44

	Sum PAR, MJ m−2 d−1
	8.4
	7.6
	6.8
	7.2

	Wind speed, m s−1
	1.6
	1.4
	1.7
	1.4

	Maximum wind speed, m s−1
	8.33
	6.45
	5.73
	5.41

	Temperature maximum, °C
	34.2
	33.1
	32.2
	32.1

	Temperature minimum, °C
	23.4
	24.0
	23.7
	23.6

	RH maximum, %
	95.1
	97.0
	96.3
	98.0

	RH minimum, %
	46.1
	40.7
	34.5
	35.2

	DOut maximum, kPA
	2.75
	2.23
	1.86
	1.78

	DOut minimum, kPA
	0.98
	0.77
	0.69
	0.58


Full-size table
S, outdoor global radiation; PAR, photosynthetically active radiation; RH, outdoor air relative humidity; DOut, outdoor air water vapour pressure deficit.



View Within Article




Table 4. 

List of the data used for model calibration and model validation

	
	2003



	2004




	Model Calibration
	1
	2
	3
	4
	5
	6
	7

	DOY
	296
	322
	336
	350
	364
	13
	27

	Measured L
	0.02
	1.39
	2.42
	2.60
	2.89
	3.45
	4.10

	Model validation
	1
	2
	3
	4
	5
	6
	7

	DOY
	302
	316
	330
	344
	358
	7
	21

	Estimated L
	0.07
	0.81
	2.15
	2.53
	2.75
	3.18
	3.84


Full-size table
DOY, day of year; L, leaf area index.



View Within Article


The ventilation submodel was parameterised with the CFD results (Campen, 2005) applying Econet SF insect screen. This screen has a ventilation reduction of 0.44 (Ajwang & Tantau, 2005). Meanwhile the ventilation reduction of the Mononet 600 used in the experimental prototype greenhouse was determined to be 0.40. Accordingly, values for Cw of 0.04 and average u of 0.10 m s−1 were derived. With values for χ of 0.05 m, and TCan–TAir of 2 K (Stanghellini, 1987), the calculated value for GCan−Air,CON is 11.2 L W m−2 K−1 in the crop transpiration model. The other parameters for the model are given in Table 5.



Table 5. 

Values of parameters used in the model

	Parameter
	Value
	Description

	Plastic cover
	
	

	 Thermal transmission τcov,LWR
	0.3845
	Measured

	Insect screens
	
	

	 Transmission for diffuse τScr,dif
	0.765
	Deduced from comparable screens

	 Transmission for direct τScr,dir
	0.882
	Deduced from comparable screens

	 Ventilation reduction ζ
	0.40
	Measured

	Greenhouse
	
	

	 Width, side ventilation wo,s, m
	2× 2.75
	By design

	 Length, side ventilation lo,s, m
	2×24.6
	By design

	 Width, roof ventilation wo,r, m
	2
	By design

	 Length, roof ventilation lo,r, m
	15
	By design

	 Volume, m3
	823
	By design

	 Floor area, m2
	144
	By design

	 Average height h, m
	5.7
	By design

	 Diagonal length d, m
	17.8
	By design

	 Structural absorption αStr
	0.03
	De Zwart (1996), modified

	 Screen absorption αScr
	0.04
	De Zwart (1996)

	 Screen light obstruction OScr
	0.21
	By design

	Wind pressure coefficient Cw
	0.04
	Campen (2005), CFD calibrated

	Discharge coefficients
	
	

	 Side ventilation Cd,s
	0.662
	Bot (1983); calculated

	 Roof ventilation Cd,r
	0.676
	Bot (1983); calculated

	Crop canopy coefficients
	
	

	 Thermal extinction κCan,LWR
	0.64
	Stanghellini (1987)

	 PAR extinction κCan,PAR
	0.715
	Goudriaan and Van Laar (1994)

	 PAR reflectionκCan,PAR
	0.057
	Goudriaan and Van Laar (1994)

	 NIR extinction κCan,NIR
	0.358
	Goudriaan and Van Laar (1994)

	 NIR reflection κCan,NIR
	0.389
	Goudriaan and Van Laar (1994)

	 Thermal emission εCan,LWR
	0.987
	Sugita et al. (1996)


Full-size table
PAR, photosynthetically active radiation; NIR, near-infrared radiation; CFD, computational fluid dynamics.



View Within Article


4.1. Calibration of the model

Measured and computed radiation data were in close agreement (Fig. 3). However, at midday during clear days with high direct radiation level a difference was observed. Interaction between direct radiation and greenhouse construction elements (structure, plastics, and screens) produces unevenness in the shadow patterns inside the greenhouse. One stationary radiation instrument placed inside the greenhouse then deviates from the average.



	

	Full-size image (29K)


Fig. 3. Model calibration for 7 non-successive days. Time courses of the global radiation transmission through the greenhouse: ––––, measured; - - - - - -, calculated.



View Within Article


Several tests revealed that only a small part of the solar radiation absorbed by the opaque elements of the greenhouse, as expressed in Eq. (2b), was released to the greenhouse air. Therefore, a value of 0.1 for the calibration factor Λ, as applied in Eq. (7), fitted best for the data set with leaf area index ranging from 0.02 to 4.1. The use of a value for Λ of 0.1 for an extensive range of leaf area index is helpful, because it allows the simple model to be suitable for various climatic conditions independently from growth stages. The value for Λ of 0.1 was related to the naturally ventilated plastic greenhouse with a high coupling between the greenhouse and the outdoor climatic conditions.

The agreement between the measured and calculated state variables TAir, and eAir (expressed as vapour pressure deficit DAir) was evident during 5 out of the 7 days used for the model calibration (Fig. 4). The error observed at DOY 350 could be related to an error on the measured TOut, whilst the errors observed at DOY 364 could be related to an error on the measured eAir. The behaviour of the computed TCan (Fig. 4) was comparable to the TCan reported by other researchers (Yang et al., 1990; Boulard and Baille, 1993 T. Boulard and A. Baille, A simple greenhouse climate control model incorporating effects of ventilation and evaporative cooling, Agricultural and Forest Meteorology 65 (1993), pp. 145–157. Abstract | 
PDF (589 K)
 | View Record in Scopus | Cited By in Scopus (41)Boulard & Baille, 1993; Papadakis et al., 1994).



	

	Full-size image (39K)


Fig. 4. Model calibration for 7 non-successive days. (Upper graph) Time courses of the greenhouse air temperature TAir: [image: image29.jpg]


, measured; ——, calculated; canopy temperature TCan: - - - - - -, calculated; (Lower graph) time courses of the greenhouse air water vapour pressure deficit DAir: [image: image30.jpg]


, measured; ——, calculated.



View Within Article


The measured and calculated cumulative daytime transpiration fluxes on the two successive days they were measured, were comparable (measured 1.57 and 1.59 mm; calculated 1.78 and 1.58 mm, respectively). This indicates that applying ke of Stanghellini (1987) and ki of Nederhoff (1994) in the P–M model was justified.

4.2. Validation of the model

For the validation data set (Table 4) the model calculated IG and IPAR and the state variables TAir, DAir (Fig. 5) satisfactorily. The errors were less then 5% with RMSE of 42 W m−2 for IG, 17 W m−2 for IPAR, 0.39 °C for TAir, and 0.10 kPa for DAir (Table 6). Scatter plot of the measured and computed TAir and DAir (Fig. 6) shows that the calculated and measured data were well represented around the 1:1 line. Therefore, we can conclude that the simple model is capable of representing the greenhouse behaviour satisfactorily.



	

	Full-size image (38K)


Fig. 5. Model validation for 7 non-successive days. (Upper graph) Time courses of the greenhouse air temperature TAir: [image: image32.jpg]


, measured; ——, calculated; canopy temperature TCan: - - - - - -, calculated; (Lower graph) time courses of the greenhouse air water vapour pressure deficit DAir: [image: image33.jpg]


, measured; ——, calculated.



View Within Article




Table 6. 

Mean values of the measured and computed transmission of global and photosynthetically active radiation by the greenhouse IG and IPAR, and the air temperature and water vapour deficit in the greenhouse TAir, and DAir and their corresponding values for the per cent error and root-mean-square error (RMSE)

	
	Measured
	Calculated
	Percent error
	RMSE

	IG, W m−2
	150
	142
	5
	42

	IPAR, W m−2
	67
	64
	4
	17

	TAir, °C
	27.28
	27.17
	0.4
	0.36

	DAir, kPa
	0.73
	0.72
	2.4
	0.10


Full-size table
Number of data −762.



View Within Article




	

	Full-size image (23K)


Fig. 6. Model validation for 7 non-successive days. Calculated versus measured: □, greenhouse air water vapour pressure deficit DAir; ○, greenhouse air temperature TAir.



View Within Article


4.3. Application of the model

The radiation distribution submodel is capable to calculate radiation transmission by the greenhouse including reduction of NIR transmission through the cover. Variation in greenhouse dimension and ventilation openings closely corresponds to variation in airflow through the openings, which can be quantified in the ventilation submodel. The effect of the crop is evaluated in the transpiration submodel. Each submodel is uniquely simulating effects of variation of their corresponding parameters on the state variables. With these features, the model is applicable for: (i) evaluating the effects of ventilation, cover properties, and crop transpiration on the inside greenhouse climate; and (ii) designing an optimal tropical lowland greenhouse based on the selection of the greenhouse dimensions (floor area, volume, ventilation area) and the covering material properties.

5. Conclusions

A simple dynamic climate model was developed enabling the calculation of three state variables: average greenhouse air temperature; average greenhouse air water vapour pressure and average canopy temperature. The model was parameterised, calibrated, and validated thoroughly. A consistent performance of the model was observed, both in the calibration and validation stage. All calculation errors were less than 5% of the measured mean values. It is concluded that the model is robust and could be used as a design tool for the tropical lowland greenhouse, optimising especially cover properties and ventilation. However, the size and geometry of the ventilation openings realising the designed ventilation has to be determined subsequently by, e.g. CFD modelling.

Acknowledgements

The Dutch Ministry of Economic Affairs provided financial support for the project. The greenhouses were built and financed by Rovero Systems B.V., The Netherlands. The plastic films were developed by Oerlemans Plastic B.V./Plasthill B.V., The Netherlands. PT East West Seed Indonesia provided the experimental site, the crop and cultivation materials and skilled technical assistance for the maintenances and samplings throughout the field experimentation.

References

Ajwang and Tantau, 2005 P.O. Ajwang and H.J. Tantau, Prediction of the effect of insect-proof screens on climate in a naturally ventilated greenhouse in humid tropical climates, Acta Horticulturae 691 (2005), pp. 449–456.

Allen et al., 1998 R.G. Allen, L.S. Pereira, D. Raes and M. Smith, Crop Evapotranspiration—Guidelines for Computing Crop Water Requirements—FAO Irrigation and Drainage Paper Vol. 56, Food and Agriculture Organization of the United Nations, Rome (1998).

ASTM G173-03, 2003 ASTM G173-03 (2003). Standard Tables for Reference Solar Spectral Irradiances: Direct Normal and Hemispherical on 37° Tilted Surface. American Society for Testing and Materials (ASTM), West Conshohocken, USA. http://rredc.nrel.gov/solar/spectra/am1.5/. Accessed on 21 December 2006.

Aubinet, 1994 M. Aubinet, Longwave sky radiation parametrizations, Solar Energy 53 (1994), pp. 147–154. Abstract | 
PDF (866 K)
 | View Record in Scopus | Cited By in Scopus (16)
Bot, 1983 G.P.A. Bot, Greenhouse climate: from Physical Processes to a Dynamic Model, PhD Thesis. Wageningen Agricultural University, The Netherlands (1983).

Boulard and Baille, 1993 T. Boulard and A. Baille, A simple greenhouse climate control model incorporating effects of ventilation and evaporative cooling, Agricultural and Forest Meteorology 65 (1993), pp. 145–157. Abstract | 
PDF (589 K)
 | View Record in Scopus | Cited By in Scopus (41)
Boulard and Baille, 1995 T. Boulard and A. Baille, Modelling of air exchange rate in a greenhouse equipped with continuous roof vents, Journal of Agricultural Engineering Research 61 (1995), pp. 37–48. Abstract | 
PDF (449 K)
 | View Record in Scopus | Cited By in Scopus (74)
Boulard and Wang, 2000 T. Boulard and S. Wang, Greenhouse crop transpiration simulation from external climate condition, Agricultural and Forest Meteorology 100 (2000), pp. 25–34. Article | 
PDF (315 K)
 | View Record in Scopus | Cited By in Scopus (27)
Campen, 2005 J. Campen, Greenhouse design applying CFD for Indonesian conditions, Acta Horticulturae 691 (2005), pp. 419–424.

De Jong, 1990 T. De Jong, Natural ventilation of large multi-span greenhouse, PhD Thesis. Wageningen Agricultural University, The Netherlands (1990).

De Zwart, 1996 H.F. De Zwart, Analyzing energy saving options in greenhouse cultivations using a simulation model, PhD Thesis. Wageningen Agricultural University, The Netherlands (1996).

Fatnassi et al., 2004 H. Fatnassi, T. Boulard and J. Lagier, Simple indirect estimation of ventilation and crop transpiration rates in a greenhouse, Biosystems Engineering 88 (2004), pp. 467–478. Article | 
PDF (411 K)
 | View Record in Scopus | Cited By in Scopus (11)
Goudriaan and Van Laar, 1994 J. Goudriaan and H.H. Van Laar, Modelling Potential Crop Growth Processes, Textbook with Exercises, Kluwer Academic Publishers, Dordrecht/Boston/London (1994).

Hemming et al., 2006 S. Hemming, D. Waaijenberg, J.B. Campen, B. Impron and G.P.A. Bot, Development of a greenhouse system for tropical lowland in Indonesia, Acta Horticulturae 710 (2006), pp. 135–142. View Record in Scopus | Cited By in Scopus (6)
Hoffmann and Waaijenberg, 2002 S. Hoffmann and D. Waaijenberg, Tropical and sub-tropical greenhouses — a challenge for new plastic films, Acta Horticulturae 578 (2002), pp. 163–169.

NASA, (2005) NASA (2005). Saturation Vapor Pressure. National Aeronautics and Space Administration (NASA), Washington, D.C., USA. http://atmos.nmsu.edu/education_and_outreach/encyclopedia/. Accessed on 21 December 2006.

Nederhoff, 1994 E.M. Nederhoff, Effect of CO2 concentration on photosynthesis, transpiration and production of greenhouses fruit vegetable crops, PhD Thesis. Wageningen Agricultural University, The Netherlands (1994).

Papadakis et al., 1994 G. Papadakis, A. Frangoudakis and S. Kyritsis, Experimental investigation and modelling of heat and mass transfer between a tomato crop and the greenhouse environment, Journal of Agricultural Engineering Research 57 (1994), pp. 217–227. Abstract | 
PDF (627 K)
 | View Record in Scopus | Cited By in Scopus (17)
Roy et al., 2002 J.C. Roy, T. Boulard, C. Kittas and S. Wang, Convective and ventilation transfer in greenhouses, Part 1: the greenhouse considered as a perfectly stirred tank, Biosystems Engineering 83 (2002), pp. 1–20. Abstract | 
PDF (339 K)
 | View Record in Scopus | Cited By in Scopus (41)
Spitters et al., 1986 C.J.T. Spitters, H.A.J.M. Toussaint and J. Goudriaan, Separating the diffuse and direct component of global radiation and its implication for modelling canopy photosynthesis. Part I. Component of incoming radiation, Agricultural and Forest Meteorology 38 (1986), pp. 217–229. Abstract | 
PDF (685 K)
 | View Record in Scopus | Cited By in Scopus (178)
Stanghellini, 1987 S. Stanghellini, Transpiration of greenhouse crops, PhD Thesis. Wageningen Agricultural University, The Netherlands (1987).

Sugita et al., 1996 M. Sugita, T. Hiyama and T. Ikukawa, Determination of canopy emisssivity: how reliable is it?, Agricultural and Forest Meteorology 81 (1996), pp. 229–239. Article | 
PDF (510 K)
 | View Record in Scopus | Cited By in Scopus (8)
Swinkels et al., 2000 G.L.A.M. Swinkels, P.J. Sonneveld and G.P.A. Bot, Improvement of greenhouse insulation with restricted transmission loss through zigzag covering material, Journal of Agricultural Engineering Research 79 (2000), pp. 91–97.

Von Zabeltitz, 1999 C. Von Zabeltitz, Greenhouse structures. In: G. Stanhill and H. ZviEnoch, Editors, Ecosystem of the World Vol. 20, Greenhouse Ecosystems, Elsevier, Amsterdam (1999), pp. 17–71.

Yang et al., 1990 X. Yang, T.H. Short, R.D. Fox and W.L. Bauerle, Transpiration, leaf temperature and stomatal resistance of a greenhouse cucumber crop, Agricultural and Forest Meteorology 51 (1990), pp. 197–209. Abstract | 
PDF (681 K)
 | View Record in Scopus | Cited By in Scopus (22)
http://www.sciencedirect.com/science?_ob=ArticleURL&_udi=B6WXV-4P481W4-2&_user=6763742&_coverDate=09%2F30%2F2007&_rdoc=1&_fmt=high&_orig=search&_sort=d&_docanchor=&view=c&_searchStrId=1366521828&_rerunOrigin=scholar.google&_acct=C000070526&_version=1&_urlVersion=0&_userid=6763742&md5=63e1e038d8e8c0ee0c7a3295c290673e

