EFFECT OF GAS ATMOSPHERE ON THE DEVELOPMENT  OF BOVINE EMBRYOS .USING A SIMPLE PORTABLE INCUBATOR

Nayeem Habeeb A.  Khan 1 3 , Kikkawa,  Y.2 •3 , Sumantri, C 3 , Saba, S.3 ,

Murakami, M .S. 3 , Boediono, A.3 and Suzuki, T.3

1Department of Animal Husbandry  and Veterinary  Services,  Government  of Karnataka, Bangalore, 560 001,  India.

2senior High School , Division of Agriculture, Shimane,  Japan.

3United Graduate  School of Veterinary Sciences,  Yamaguchi University, Yamaguchi 753, Japan.

ABSTRACT

The objective  of this  study  was to examine  the effect of gas atmosphere on the development of IVMFC of  bovine  embryos  in  a  simple  portable carbon    dioxide   incubator   under   negative    and positve  pressure of  air.  Incubation   was  carried out in small  plastic  boxes  (15L X lOW X 4H em). For  C02  production,  0.25 g of effervescent  gran­ ules in distilled water were used for successful IVMFC. In  experiment  I, the  blastocyst   rate observed   in  treatment   1 with  negative  pressure was  higher   (p  < 0.05) than  that  in  treatment  2 and 3 (43.5% and 42.9%, 23.9% and 4.8% for treatment  1 (i)  and  (ii),  2, 3, respectively). In ex­ periment  II   (treatment   1),   the  survival  rate  of simple incubator-produced blastocysts, following cryopresevation with 1.8M  EG +0.05M T  in the absence of PVP had no difference from that  in 5% PVP. It  was  observed   that  the  rate  in  5%  PVP was higher  (p <O.Ol) than  that  in 20% PVP and higher  (p <0.05) than  that  in 10% PVP  (81.8%,

67 .5%, 56.5%,  6.3%;  without  PVP, 5% PVP, 10% PVP, and  20% PVP, respectively). In  experiment The authors wish to thank Japanese Veterinary Medical Association and Japan Racing Association, Tokyo, Japan for financial assistance.

II (treatment  2) , the comparative  survival rate  of blastocysts  and hatched  blastocysts produced  by a simple incubator did not show any significant dif­ ference between program  freezer  and deep freezer. In experiment II (treatment 3) , the total  cell num­ ber  and live and  dead  ratio  of blastocysts from a simple incubator  showed  no significant difference between program freezer  and  deep  freezer. In ex­ periment III, the  pH of culture  medium in  all  the gas treatments  was compared  with C02  incubator and there was no significant  difference.

These  results  suggest  that  gas  atmosphere with the  negative pressure of air  in  a  simple  portable incubator increased the blastocyst formation rate. Hence, it can  be successfully used  for  production of  bovine IVMFC embryos  and  could  be  used  at farm level.

Key words: IVMFC, Simple incubator, Deep freez­

er, Negative and positive  pressure of air

INTRODUCTION

After  the advent  of embryo  transfer  technology and in vitro fertilization, in recent  years  there  has been rapid progress  in the development of systems particularly for in vitro  production  of bovine embryos  for   both  experimental    and   commercial

113

. ..

# Text boxes

•